APPENDIX C: Standard Operating Procedure (SOP) with Optical Table

| Principal Investigator: | Date: |
| --- | --- |
| Department: | Location: |

- LASER SAFETY CONTACTS

Principal Investigator:                                                                               Phone:

Laser Safety Officer:     Valerie Perez (EHRS)		                       Phone: 215 746-6652

Service Contractor:                                                                                    Phone:

Emergencies:           University Police                                                      Phone: 511 or 215 573-3333

- LASER DESCRIPTION

Type:                                              Wavelength:                                      Classification:

Manufacturer:                              Model:                                                Serial #:

Maximum Power:

Continuous Wave Laser

Maximum Power:

Pulsed Laser

Maximum Energy:                                                                  Pulse Duration:

Pulse Repetition Frequency:

Description of Application:

- PERSONNEL

- Authorized Personnel: The laser is located in _______________ and may be operated only by authorized personnel who are fully cognizant of all safety issues involved in the operation of such a device. These personnel are to ensure that the laser is only operated in the manner laid out in this document. To become an authorized user, one must:

- Complete Environmental Health & Radiation Safety (EHRS) training for laser safety.

- Read and fully understand the standard operating procedures published by the University of Pennsylvania at http://www.ehrs.upenn.edu/programs/laser/lasermanual/.

- Read and fully understand the standard operating procedures as described in this document

- Receive training on the laser by an authorized user.

- Sign the authorized user sheet to affirm that the above steps have been completed.

Unauthorized Personnel: No unauthorized personnel may enter the ______________ during laser operation unless accompanied by an authorized user.  All visitors must be briefed on proper safety protocol and must wear appropriate protective eyewear located in the laboratory unless the laser sources are turned off during the entire visit.

- OPERATING PROCEDURES:

NOTE:  Refer to Section 7 below for appropriate Laser Safety Eyewear.

- Laboratory preparation and start-up procedures.

1.	Ensure that laser hazard warning lights are switched on.

2.	Ensure doors or curtains are closed and all personnel are wearing appropriate protective     eyewear.

3.	Inspect all electrical connections for damage and connectivity.

4.	Inspect the apparatus for any blockages or apparent misalignment.

5.	Ensure that all enclosures are properly placed in the work area.

6.	Switch on the laser

- Target area preparation.

- Ensure the laser is hitting the sample correctly, and that any stray reflections are blocked by optics, housings, or enclosures.

- Normal operating procedures

1.	The laboratory doors will remain closed, and the hazard warning lights switched on, when the laser is operating.

2.	Laser protective eyewear for sufficient protection against __________ are available in __________________.  Laser protective eyewear must always be worn when the laser is in operation.

3.	Specular and diffuse reflections will be controlled using apertures, and enclosures.  These control methods must remain in place during normal operation.

4.	When adjusting any optics in the apparatus, users must follow the alignment procedures described in section (e) below.

- Shut down procedures

- Block the laser output.

- Power down the laser.

- Alignment procedures

Preparation for alignment:

- Before aligning optics, ensure laboratory doors are closed, and post a sign outside the door stating “Laser alignment in progress. Do not enter. Eye protection required.”

- Access to the room is limited to authorized personnel only.

- Remove any watches, rings, dangling badges, or other reflective jewelry.

- Properly-fitted gloves should be worn for protection of optics.

- Use non-reflective tools wherever possible.

- Identify equipment and materials necessary to perform alignment, and remove all unnecessary equipment, tools, and combustible materials (solvents, paper, etc.) from the optical table.

- Ensure that all users are wearing laser protective eyewear.  Alignment eyewear must provide sufficient optical density to prevent ocular damage within the aversion response time (~0.25s for visible light).

Aligning External Optics:

- Always use the lowest possible power for gross alignment and installation of new optics.

- If the laser output power cannot be reduced in the laser itself, install a temporary attenuator at the laser output, to reduce the power of the beam to a safe level for alignment.  Note that it is important not to reflect a substantial fraction of the laser output directly backwards into the cavity, so either an optical isolator needs to be used or the attenuator should be tilted such that the reflected beam misses the laser aperture.

- Use beam blocks to block high-power beams downstream of the optics being aligned.

- Place beam blocks behind optics such as steering mirrors to terminate beams that might miss during alignment.

- Locate and block all stray reflections before proceeding to the next optical component or section.

- Ensure that all beams and reflections are terminated before resuming high-power operation.

- Replace all laser beam enclosures after alignment is completed.

- Electrical service

- Only qualified personnel may perform internal maintenance to the laser or power supply and more than one user must be present during such work.

- Enclosures for protection against the high voltages of the laser power supply or laser head may be removed only after the power supply has been unplugged from the outlets and only after following the safety procedures outlined in the operations manual.

- Every portion of the electrical system, including the printed circuit boards, should be assumed to be at a dangerous voltage level.

- Optical Amplifier procedures.

- Emergency procedures.

In the event of a laser accident, follow the procedure below:

- Ensure the laser is shut off.

- Provide for the safety of the personnel as needed (first aid, evacuation, etc.).  Note – if an eye injury is suspected, have the injured person keep his/her head upright and still to reduce bleeding.  A physician should evaluate laser injuries as soon as possible.

- Obtain medical assistance for any injured persons:

Ambulance:

Call campus police: 511 (campus phone) or 215-573-3333 (any phone)

Students (during business hours):

Student Health

3535 Market Street, Suite 100

215-746-3535

University Staff (during business hours):

Occupational Medicine

Ravdin 2nd floor

215-662-2354

After hours/visitors:

Emergency Service at HUP

Ground floor Silverstein Pavilion/HUP

34th and Spruce Streets

- Notify Prof. ________________ as soon as possible.

- Notify EHRS when an exposure incident occurs.

- CONTROL MEASURES

| Y/N/NA | CONTROL | COMMENTS |
| --- | --- | --- |
|  | Entryway interlocks or controls are present. |  |
|  | Protective housing interlocks are present. |  |
|  | Enclosure interlocks are present. |  |
|  | Emergency stop/panic button is present. |  |
|  | Master switch is present. |  |
|  | Laser and associated equipment is secured to base. |  |
|  | Beam stops or attenuators are present. |  |
|  | Protective barriers are present. |  |
|  | Warning signs are posted. |  |
|  | Personal protective equipment is available and used. |  |
|  | Nominal Hazard Zone is defined. |  |
|  | Manufacturer’s operating manual is available. |  |

- HAZARDS AND CONTROLS

| Y/N/NA | HAZARD | CONTROL MEASURES |
| --- | --- | --- |
|  | Unenclosed beam. | Follow operation procedures for safe use and alignment. |
|  | Potential exposure to direct beam or reflections. | Follow operation procedures for safe use and alignment. |
|  | Laser positioned at eye level. | Laser table top puts horizontal beams at eye-level. Use protective barriers. |
|  | Reflective materials in beam path. | Use enclosures or beam stops to block any unwanted reflections |
|  | Exposure to ultraviolet or blue light. |  |
|  | Hazardous materials are used. (Dyes, solvents, etc.) |  |
|  | Hazardous waste is generated. |  |
|  | Laser generated air contaminants are generated. |  |
|  | Exposure to high voltage. |  |
|  | Compressed gases are used. |  |
|  | Fire hazards are present. |  |
|  | Plasma radiation is generated. |  |

- PERSONAL PROTECTIVE EQUIPMENT (PPE)

Laser Eyewear

| FOR THIS LASER | WEAR THIS EYEWEAR |
| --- | --- |
| Laser | Wavelength(s) (nm) | Wavelength(s) Attenuated(nm) | Optical Density | Manufacturer |

- LASER OPERATOR REVIEW

I have read this procedure and understand its contents.

Name                                                       Signature                                          Date