# Hazard Control Plan

[Name of Process Being Evaluated and Lab Name]

TEMPLATE INSTRUCTIONS: Some sections will require more or less detail depending on your procedure.  Send completed HCPs to ehrslaba@ehrs.upenn.edu for upload to your lab’s document section in BioRAFT.   EHRS will review HCPs on your request; however, the supervising faculty member is responsible for ensuring that a thorough hazard assessment has been performed.  Replace red text with your text in this template.

# Purpose

A Hazard Control Plan (HCP) is a standard operating procedure for a specific process performed in your laboratory or department.  The HCP describes the hazardous materials or equipment in use and details the controls that will be put in place to minimize risk of exposure, injury, and other incidents.  While the HCP may also include experimental procedures, its purpose is primarily to document the hazards and controls for the process.  An HCP is typically written for procedures with particularly high hazards or when new hazards are introduced for the first time.  A hazard assessment must be repeated and the HCP amended whenever changes are made to the process.

# Hazard Control Plan

[Name of Process Being Evaluated and Lab Name]

Date HCP Prepared:  [Date]

HCP Prepared by:

| Name | [Name] |
| --- | --- |
| Position/title | [Postion/title] |
| Email address | [Email] |
| Phone number | [Phone number] |
| Supervising Faculty Member | [Faculty member’s name] |
| Department | [Department name] |
| Contributors | [Names] |

Location of Process:

| Building | [Building] |
| --- | --- |
| Room number | [Room] |
| EHRS hood number (if applicable) | [3-4 digit EHRS ID Hood Numbers] |
| Other location information | [Other storage location info, if applicable] |

### References:

[Insert literature or research notebook references for this procedure here.  Specify which procedure in the paper is the one you will be following, e.g. “Method 3, page 1427”]

[Specify here if there are any parts of the procedure you will be modifying in your experiment, e.g. using a different solvent, a different substitution on a molecule, or different reaction conditions such as temp]

# General Description

Brief, General Description of Process Including Research Goal/Outcome.

# Scope and Limitations

This Hazard Control Plan applies to the equipment, chemicals, and tasks described herein.  Any deviation in materials, pressures, temperatures, or other operational parameters specified in this HCP must be evaluated for new potential hazards and necessary controls before implementation of the changes.

Describe any limitations in scope that are specific or important to this hazard control plan (if applicable).

# Hazard Identification

The following chemical and physical hazards have been identified for this process/equipment.  [put “x” in box next to hazards]

|  | Chemical |  | Physical/Other |
| --- | --- | --- | --- |
|  | Carcinogens |  | Ionizing radiation |
|  | Corrosive Liquids |  | Radioactive materials |
|  | Perchloric Acid |  | Lasers |
|  | Engineered Nano Materials |  | UV light sources |
|  | Flammable Chemicals |  | Inert compressed gases |
|  | Hazardous Gas (Flammable, Oxidizing, Corrosive, Toxic) |  | Electrical Hazards |
|  | Highly Toxic Chemicals |  | Heavy material handling equipment |
|  | Irritants |  | Working at Heights (4 foot or higher) |
|  | Explosive compounds |  | High heat |
|  | Peroxide formers |  | Open Flame |
|  | Pyrophoric chemicals |  | Lithium Batteries |
|  | Strong Oxidizers |  | Noise hazards |
|  | Water Reactive Chemicals |  | Particulates from machines and operations |
|  | Cryogens and Dry Ice |  | Pressure and Vacuum vessels |
|  | Teratogens and/or reproductive hazards |  | Robotic Machinery |
|  | Exothermic reaction/Other chemical reactivity hazards |  | Shop equipment |
|  |  |  | Biological Hazards |
|  |  |  | Exposed blades, needles, etc. |

# Training Requirements

Training beyond the standard EHRS lab safety training is required for hazardous lab processes. Hands-on training by a senior lab member experienced in the use of [type of] reagents is required before new lab members can perform experiments with [type of] materials. All researchers conducting this experiment must read and understand the applicable SOPs and Fact Sheets in Penn’s Chemical Hygiene Plan.

After completing the training, the new lab member must obtain approval from the PI prior to commencing work. No researcher may work independently with the hazardous material described in this HCP until the Principal Investigator (or their designee) has ensured that the researcher:

- Has completed all required EHRS laboratory safety training programs.

- Understands the hazards of the materials and risks of the processes involved.

- Has read and understands the contents of this SOP and the lab's task-specific Hazard Control Plan.

- Demonstrates the ability to execute their work according to the requirements in this SOP and the lab's task-specific Hazard Control Plan

# Tasks, Hazards, and Controls

Describe each step of the procedure that involves a hazardous material or procedure. Replace the use of “should be/do” statements with “must be/do” statements as much as possible; this reduces the risk of someone misinterpreting “should” statements as optional instructions.

(See Appendix B for an example task description)

- [Task Name]

[Task Description]

[Photos]

Hazard-Control Table Instructions:

(See Appendix B at the end of this document for an example of a completed table)

- Fill in the hazard (e.g. Flammable Chemical) in the top row. Enter the risk (e.g. fire) below the hazard.

- Define the likelihood and severity of the risk along with any risk factors

- See Appendix A at the end of this document for an example of a completed table and definitions of risk severity and likelihood levels. (High(H), Medium(M), and Low(L))

- Fill-in any controls that are in place or will be put in place.  (You do not need to enter a control for each category.)

Duplicate the table as many times as is necessary for each hazard and risk of each step.

| Hazard: [Name Hazard Here] |  |  |  |
| --- | --- | --- | --- |
| Risk | Likelihood | Severity | Risk Factors |
| [Enter risk here] | H, M, or L | H, M, or L | [Enter risk factors here – conditions or actions that would increase risk] |
| Controls |  |  |  |
| Administrative [work practices] |  |  |  |
| Engineering |  |  |  |
| Personal Protective Equipment |  |  |  |
| Other mitigating factors (inherent risk reduction) |  |  |  |

Link to Penn Chemical Hygiene Plan SOP for this hazard:  [If applicable, include the link to the relevant SOP or Fact Sheet from Penn’s CHP]

- [Task Name]

[Task Description]

[Photos]

| Hazard: [Name Hazard Here] |  |  |  |
| --- | --- | --- | --- |
| Risk | Likelihood | Severity | Risk Factors |
| [Enter risk here] | H, M, or L | H, M, or L | [Enter risk factors here – conditions or actions that would increase risk] |
| Controls |  |  |  |
| Administrative [work practices] |  |  |  |
| Engineering |  |  |  |
| Personal Protective Equipment |  |  |  |
| Other mitigating factors (inherent risk reduction) |  |  |  |

Link to Penn Chemical Hygiene Plan SOP for this hazard:  [If applicable, include the link to the relevant SOP or Fact Sheet from Penn’s CHP]

- [Task Name]

[Task Description]

[Photos]

| Hazard: [Name Hazard Here] |  |  |  |
| --- | --- | --- | --- |
| Risk | Likelihood | Severity | Risk Factors |
| [Enter risk here] | H, M, or L | H, M, or L | [Enter risk factors here – conditions or actions that would increase risk] |
| Controls |  |  |  |
| Administrative [work practices] |  |  |  |
| Engineering |  |  |  |
| Personal Protective Equipment |  |  |  |
| Other mitigating factors (inherent risk reduction) |  |  |  |

Link to Penn Chemical Hygiene Plan SOP for this hazard:  [If applicable, include the link to the relevant SOP or Fact Sheet from Penn’s CHP]

Continue adding tasks and hazard-control tables as necessary to describe all hazardous steps of the process.

Other Considerations

(Not specified elsewhere in this HCP)

Storage and Transport

[Identify specifically where and how hazardous materials will be stored and transported in your lab.]

Waste Disposal

[Indicate the waste disposal practices for the waste produced by this process.]

[INCLUDE IF QUENCHING IS APPLICABLE FOR YOUR HCP, DELETE OTHERWISE:] Quenching must only be done for:

- A pyrophore/residue in a container unsafe for transport.

  - e.g. Schlenk flasks, round-bottom flasks, and similar glassware should be quenched.

  - A SureSeal-ed (or equivalent) container should not be quenched.

- Equipment that needs to be reused.

- Contaminated debris/articles that could convey the pyrophoric hazard but can’t be safely packaged and transported.

  - e.g. contaminated Kimwipes, Pasteur pipettes.

- If you have a question about quenching/disposal, contact chem_waste@lists.upenn.edu.

Collect the quenched material in a separate container from other wastes. Use a hazardous-waste tag to label the container with all of the constituents of the quenched mixture (e.g. For Grignard reagents: magnesium bromide, benzene, magnesium isopropoxide, etc), NOT just “Grignard quench” or “tolyl magnesium bromide, phenyl magnesium iodide, etc”. EHRS staff needs this information to avoid placing incompatible materials inside the same container.

Building/Lab Specific Emergency Procedures

[Indicate where the nearest emergency exit and safety shower are located.  Refresh the lab group on the emergency phone numbers and evacuation procedures.  Include any special emergency response or spill clean-up instructions for this particular process.]

[Consider “what-if” scenarios - would a loss of running water, fume hood exhaust, etc. impact the safety of your operation? How would you respond if you were mid reaction, or could not easily get to your reaction to stop it? Provide a brief overview of some relevant scenario(s).]

In case of a small fire, [firefighting media] can be found in [location]. Only use a fire extinguisher if you’ve been trained. If you are not properly trained on the use of a fire extinguisher, evacuate immediately and pull the fire alarm. Then, notify EHRS.

In case of a large fire, the hood sash should be closed (if applicable and it is safe to do so) and the fire alarm pulled. A fire extinguisher rated for the fire can be used to extinguish the fire only if the fire is maintained inside of the hood, manageable, and you have been trained on the use of a fire extinguisher. If the fire is unmanageable or you are not trained on the use of a fire extinguisher, evacuate immediately and pull the fire alarm. Notify EHRS.

In case of an incident which causes life-threatening or otherwise severe injury in need of immediate medical care call 215-573-3333 or 511 from a Penn campus phone. For injuries that are not immediately life-threatening, or are otherwise minor, rinse any contaminated areas in safety shower for at least 15 minutes, then seek treatment at one of the following locations:

Faculty and Staff

Go to Occupational Medicine:
HUP RAVDIN 2nd floor, 34th & Spruce Streets

Hours:  8:30am - 3:30 pm
Phone:  215-662-2354

An appointment is not required for a new injury or exposure.

Go to Emergency Service at HUP or Penn Presbyterian after hours:

HUP:  Pavilion (1 Convention Avenue)

Penn Presbyterian: Myrin Building (51 N 39th St.)

Students:

Go to Student Wellness during hours:
3535 Market Street, Suite 100
215-746-3535

Go to Emergency Service at HUP or Penn Presbyterian after hours:

HUP:  Pavilion (1 Convention Avenue)

Penn Presbyterian:  Myrin Building (51 N 39th St.)

Do not hesitate to call EHRS for assistance with compressed gas leaks or exposure concerns. 24-hour EHRS on-call phone number: 215-898-4453

Contact Penn Police (511 from a Penn campus phone or 215-573-3333) if the leak involves a fire, imminent risk of fire, an injury requiring an ambulance, or if there is a hazard that may affect others in the building.

Optional attachments:

- Safety Data Sheets

- Operation Manuals for Equipment

- Experimental Procedure

- List of Individuals Trained and Authorized on this Procedure

Appendix A:    Definitions of Risk Likelihood and Severity Level

Likelihood

-------------------------------------------------------------------------

Low:

To the best of your knowledge, this has not happened in the past with same or similar equipment/material/location.

And

This would not be expected to occur under normal operating conditions.

And

This would only be expected to occur in the event of a rare upset condition.

-------------------------------------------------------------------------

Medium:

To the best of your knowledge, this has not happened in the past with same or similar equipment/material/location.

And

This would not be expected to occur under normal operating conditions.

And

This would be expected to occur under reasonably anticipated upset conditions.

-------------------------------------------------------------------------

High:

This is known to have happened in the past with same or similar equipment/material/location.

And/or

This could occur under normal operating conditions.

And/or

This could occur under reasonably anticipated upset conditions.

-------------------------------------------------------------------------

Severity

-------------------------------------------------------------------------

Low:

This would not cause an injury or exposure that would require medical evaluation or treatment.

And

No permanent damage to equipment or facility would result.

And

Damages would not result in downtime of more than a few hour.

-------------------------------------------------------------------------

Medium:

Injuries or exposures would not exceed first-aid level treatment and would not result in any lost work days due to injury.

And/or

Minor equipment or facility damage would result.

And/or

Damages would result in downtime of a few hours or more.

And/or

A hazardous material spill clean-up would need to be done by the lab.

-------------------------------------------------------------------------

High:

Injuries or exposures would require medical treatment beyond first-aid and/or would result in lost work days due to injury.

And/or

Serious equipment or facility damage would result.

And/or

Damage to the facility would be beyond the lab/room of origin.

And/or

Damages would result in more than one day of downtime.

And/or

External hazmat team required for hazardous material spill clean-up.

----------------------------------------------------------------------------

# Appendix B:  EXAMPLE TASK/HAZARDS/RISKS/CONTROLS

- Diluting hydrofluoric acid

Hydrofluoric acid (49%) is poured from a 500-mL bottle through a plastic funnel into a 25-mL plastic graduated cylinder to the 11-mL mark.  Any excess acid that was dispensed is poured from the graduated cylinder back into the bottle.  The 11-mL of hydrofluoric acid are then poured into a 250-mL plastic beaker containing 50 mL of D.I. water.

Photo of Equipment/Process if available

(See Example Hazard-Control Table on Next Page)

EXAMPLE HAZARD-CONTROL TABLE

| Hazard: Highly toxic and corrosive chemical (Hydrofluoric acid) |  |  |  |
| --- | --- | --- | --- |
| Risk | Likelihood | Severity | Risk Factors |
| Serious burns to eyes or skin from hydrofluoric acid exposure | M | H | Chemical spill/splash Poor housekeeping practices/contaminated surfaces |
| Controls |  |  |  |
| Administrative [work practices] | -Label the area where HF is stored and used. -Do not work with HF when alone in lab. Notify lab mates before working with HF -Conduct this task only inside of a working chemical fume hood. -Use an appropriately sized funnel for the size of the graduated cylinder. -Close HF bottle immediately after pouring chemical. Do not leave bottle open. -Wipe off outside of bottle with a damp paper towel after use. -Clean up all spills immediately. Ensure that no liquids puddles or droplets are on the work surface when done. -Remove gloves if they become contaminated. Change gloves immediately after completion of task. -Wash hands immediately after completion of task. -Thoroughly rinse all labware immediately after use. -No other procedures can be done in the fume hood until all HF work is complete, the waste has been collected, and equipment and materials have been cleaned, properly discarded, or removed from the area. |  |  |
| Engineering | -Use the chemical fume hood sash as a barrier to shield your face and as much of your body as possible while performing this task. -Use a metal clamp to secure the graduated cylinder from tipping during pour. |  |  |
| Personal Protective Equipment | Standard lab attire (long pants, fully-enclosed shoes) and -100% cotton lab coat -safety glasses -Minimum 8-mil-thickness nitrile glove or double glove with 4-mil nitrile gloves |  |  |
| Other mitigating factors (inherent risk reduction) | An HF exposure kit with non-expired calcium gluconate gel is available in the lab near fume hood #### where HF is stored and used. Training is provided to all lab workers on the location and use of the kit. |  |  |

Link to Penn Chemical Hygiene Plan SOP for this hazard:  http://www.ehrs.upenn.edu/programs/labsafety/chp/sop/hydrofluoric_acid.html