|  |  |  |  |
| --- | --- | --- | --- |
| Procedure ID: | Developed By: | Reviewed By: | Revised By: |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Description: Sample | | Equipment ID: | | |
| Building: | Area: | Rev: | Date: | Origin Date: |
| # Isolation Points to be Locked & Tagged. | Task Description-Notes: | | | |
|  | | | |

|  |  |  |
| --- | --- | --- |
| Photo 1 | Photo 2 | Photo 3 |
|  |  |  |

ALWAYS PERFORM A MACHINE STOP BEFORE LOCKING OUT DISCONNECTS

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **ID** | **Source** | **Device** | **Location** | **Method** | **Check** |
| E-1 | Electrical |  |  |  |  |
| M-2 | Mechanical |  |  |  |  |
| W-1 | Hydraulic |  |  |  |  |
| C-1 | Chemical |  |  |  |  |
| P-1 | Pneumatic |  |  |  |  |
| K-1 | Kinetic Energy |  |  |  |  |
| T-1 | Thermal |  |  |  |  |
| G-1 | Gravity |  |  |  |  |

(Modify Table as Required)

OPENING A GUARD DOES NOT CONSTITUTE A LOCKOUT

Any machine modifications must be shown in procedure. Contact EHRS to update procedure.

|  |
| --- |
| **Equipment Specific Lockout-Tagout Procedure** |

|  |  |  |
| --- | --- | --- |
| **#** | **STEP** | **DESCRIPTION** |
| 1 | Notify | Notify all Affected Employees that servicing or maintenance is required on a machine, system, or equipment and that the machine, system, or equipment must be shut down and locked out to perform the servicing or maintenance. |
| 2 | Review Lockout Procedure | The Authorized Employee shall refer to the Penn’s lockout procedure to identify the type and magnitude of the energy that the machine, system, or equipment uses, shall understand the hazards of the energy, and shall know the methods to control the energy. |
| 3 | Perform Machine Stop | If the machine, system, or equipment is operating, shut it down by the normal stopping procedures (depress the stop button, open switch, close valve, etc.). Reference operating procedure for normal shutdown. |
| 4 | Isolate Energy | Follow graphical lockout-tagout procedure from top to bottom to de-activate the energy isolating device(s) so that the machine or equipment is isolated from the energy source(s). Note: It may be necessary to dissipate the non-lockable energy sources before isolating the lockable energy sources (i.e., lower machine to lowest position before locking out) |
| 5 | Lockout Energy | Perform all lockout-tagout procedure steps from top to bottom starting with page 1. Lockout & tagout of energy isolating device(s) with assigned individual lock(s) and tag(s). |
| 6 | Dissipate Energy | Stored or residual energy (such as that in capacitors, springs, elevated machine members, rotating flywheels, hydraulic systems, and air, gas, steam, or water pressure, etc.) must be dissipated or restrained by methods such as grounding, repositioning, blocking, bleeding down, etc. |
| 7 | Attempt Restart  TRY STEP | Ensure that the equipment is disconnected from the energy source(s) by first checking that no personnel are exposed, then verify the isolation of the equipment by operating the push button or other normal operating control(s) or by testing to make certain the equipment will not operate.  **Caution: Return operating control(s) to neutral or “off” position after verifying the isolation of the equipment.** |

|  |  |  |
| --- | --- | --- |
| **RESTORE TO SERVICE SEQUENCE** | | |
| **#** | **STEP** | **DESCRIPTION** |
| 1 | Check Machine, System, Equipment | Check the machine, system, or equipment and the immediate area around it to ensure that nonessential items such as parts and tools have been removed and that the machine, system, or equipment components are operationally intact including replacement of guards, interlocks, etc. |
| 2 | Check Area | Check the work area to ensure that all employees have been safely positioned or removed from the area. |
| 3 | Verify | Verify that the controls are in neutral. |
| 4 | Remove Lockout | Remove the locks, tags and lockout devices and reenergize the machine, system, or equipment. Reverse the order of all lockout-tagout procedure steps from bottom to top starting from the last page. Note: The removal of some forms of blocking may require reenergization of the machine before safe removal. |
| 5 | Notify | Notify Affected Employees that the servicing or maintenance is completed and the machine, system, or equipment is ready for use. |

|  |
| --- |
| Scope: Use this procedure for all scheduled PM shutdowns, any maintenance task that requires you to place your body in harm’s way of the equipment, or if you must leave the area while the equipment is in service. |